## Slide 1
PID and Autotuning

## Slide 2: Sample systems
Room Heating
Cruise Control
Oven
Piston on Load Cell
Dampers controlling Air Flow
HVAC
Proportional Valve with flowmeter.

## Slide 3
ON – OFF control
Switches the output ON and OFF (0% - 100%)
Pros:
Easy to understand, easy to perform.
Cons:
Not precise. In some systems "waves" of over and undershoots can reach 10-20% of PV.

## Slide 4: Terminology
Process Value- Current input of PID
Set point- Target for the process value, user defined.
Control Value- Output of PID

## Slide 5
What’s PID?
The PID function uses system feedback to continuously control a dynamic process.
The purpose of PID control is to keep a process running as close as possible to a desired Set Point.
PID
SET POINT
ERROR
OUTPUT
PROCESS VALUE (INPUT)
(75)
(70)
(SP-PV=5)
(0-100%)

## Slide 6
PID means:
Proportional + Integral + Derivative control
CV = CV (P) + CV(I) + CV(D)
What's PID?

## Slide 7
Proportional Action
A band around SP is defined – in percents of PV range.
  Proportional error is 100% on the border of PB.
  Proportional error is 0% at SP.
P-control outputs CV(P) value that is in:
Direct linear proportion to the size of the Error value.

## Slide 8
Pros:
  Simple
  Easy to Implement
Cons:
  Never reach Set point!
Proportional Action
Proportional control does not begin until the PV enters the Proportional band
Proportional only
CV=CV(P)

## Slide 9
Integral Action
Compensates for the Proportional actions shortcomings.
The integral time set is the amount of time, as calculated by the controller, required to bring the process to Set Point.
According to the delay, Integral action adds value to this, calculated by Proportional action.
Integral value is accumulated with the time.

## Slide 10
Integral action
CV = CV(P) + CV(I)
On set point – CV(P) = 0  CV = CV(I)

## Slide 11
Derivative action
Derivative action compensates for the Integral actions Shortcomings.
Derivative action responds to the rate and direction of change in the Error.

## Slide 12
Proportional control is responsible for the majority.
The control can be:
P control only
PI control
PD control
Full PID control
Control Options

## Slide 13
PID control in Vision
PID performed with Function block.
Many independent PID loops can be controlled simultaneously.
  Enhanced series- 24 loops
  Standard series- 12 loops
  M91/Jazz- 4 loops

## Slide 14
Configurating FB PID:
  With one scan condition (mostly Power up SB2)
On subroutine, which is always scanned (recommended Main routine!)
PID control in Vision

## Slide 15
PID parameters
Let's open configuration block:

## Slide 16
Why Autotune?
Each system has its own ideal set of P, I, D values.
Finding "manually" these parameters needs experience and time.
Autotune learns the system and calculates the optimal parameters for it.

## Slide 17
Autotune – How it works
Autotune runs ON-Off cycles
According to the "wave" of overshoot, the base PID parameters are calculated .
Number of cycles 1 ~ 3 is set in Autotune module.
More cycles – more precise result, but longer process.

## Slide 18
Autotune

## Slide 19
Manual tuning
Examples of systems that may need manual tuning…
  Reach the set point as fast as possible
  Never overshoot the set point
  Extremely smooth curve
  Dynamic set point.

## Slide 20
PID Server
PID server is ideal tool for understanding, learning and debug PID process!
You can use it:
To view process.
To Log it.
To Autotune
It's part of VisiLogic or independent tool.
FREE
Of Charge

## Slide 22: Advanced Manual Tuning
More aggressive proportional control- Smaller proportional band
More aggressive Integral action- Smaller Integral time.
More aggressive derivative action- Larger Derivative time.

## Slide 23
FB PID – Advanced functions
Pause Integral and Derivative action
Read & Force integral Error
Read Control components